## Sheet1
ItemCode | ItemDescription | PartDescription | IsExpiryDateRequired | MinPrice | MaxPrice | Brand | Status | ExpiryAgeMonths | CurrentStock | SupplierID
BP0018 | Motors/ Micromotors/ Carbon brushes | Flow motor | Yes | 500 | 800 | Common | Active | 0 | 0 | 1
BP0025 | Sensors/ Detectors | O2 Sensor OOM202 | Yes | 280 | 380 | Common | Active | 0 | 0 | 2
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Door 22MM Bubble C.Holder 4008SV10 | No | 800 | 826.8 | Fresenius | Active | 0 | 3 | 3
BP0001 | Batteries/ UPS | Battery Pack Fot Tec 7731K | Yes | 650 | 1400 | Nihon Kohden | Active | 0 | 2 | 4
BP0025 | Sensors/ Detectors | DATEX OHMEDA Spo2 FINGER SENSOR Trusignal (TS-F-D) | Yes | 385 | 393 |  | Active | 0 | 10 | 5
BP0025 | Sensors/ Detectors | FLOW TRANDUCER GE | Yes | 450 | 790 | Ge | Active | 0 | 1 | 6
BP0003 | Bulbs/ Lamps | Bulb 12v 30w | Yes | 127 | 130 | Haag-Streit | Active | 0 | 24 | 7
BP0001 | Batteries/ UPS | Battery AA (Alkaline) | Yes | 1.85 | 2.24 | Energizer | Active | 0 | 595 | 8
BP0011 | Equipment Specific Parts | Label Remover | No | 25 | 60 | Common | Active |  | 0 | 9
BP0003 | Bulbs/ Lamps | Bulb 12v 100w (64623 HLX) | Yes | 85 | 550 | Osram | Active | 3 | 10 | 10
BP0027 | Switchs/ Knobs/Buttons | Read Switch | Yes | 80 | 85 | TOSHIBA | Active | 0 | 0 | 11
BP0011 | Equipment Specific Parts | STP Foam Cleaner | Yes | 27.5 | 75 | Common | Active | 0 | 17 | 12
BP0011 | Equipment Specific Parts | Ambersil - Label Remover | Yes | 42 | 250 |  | Active | 0 | 13 | 13
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Swive Air Hose | Yes | 600 | 650 |  | Active | 0 | 0 | 14
BP0018 | Motors/ Micromotors/ Carbon brushes | Fresenius 4008S Motor Assy Degassing Complete | Yes | 10 | 1000 | Fresenius | Active | 0 | 1 | 15
BP0003 | Bulbs/ Lamps | PROJECTION LAMP 24V 250W OSRAM | Yes | 9.5 | 10 | Common | Active | 0 | 18 | 16
BP0003 | Bulbs/ Lamps | Bulb 12V 50W | Yes | 185 | 190 | Leica | Active | 0 | 0 | 17
BP0027 | Switchs/ Knobs/Buttons | Fresenius 4008S Float Switch Complete | Yes | 172.04 | 190 | Fresenius | Active | 0 | 0 | 18
BP0026 | Solenoids/ Valves/ Gauges | Fresenius 4008S Reliief valve completed | Yes | 179 | 197 | Fresenius | Active | 0 | 0 | 19
BP0025 | Sensors/ Detectors | SPO2 REUSABLE SENSOR PEDIATRIC LNCS DCIP | Yes | 700 | 750 | MASIMO | Active | 0 | 4 | 20
BP0021 | Power Cords/ Adaptors (or any part of it) | COMMON ITEM POWER CORD 3 MTR | Yes | 19.5 | 37 | Common | Active | 0 | 21 | 21
BP0011 | Equipment Specific Parts | EQUIPMENT SPECIFIC PARTS (IN HOUSE) | No | 10001 | 100000 | Shimadzu | Active |  | 5 | 22
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Male & Female Connector | Yes | 2 | 2.5 | Accoson | Active | 0 | 46 | 23
BP0006 | Cuffs | X-Large Cuff Adult 1 TB | Yes | 10 | 13 | Critikon/Velcro | Active | 0 | 23 | 24
BP0012 | Filters | Diacap Ultra DF - Online Filter | Yes | 300 | 370 | B.Braun | Active | 0 | 10 | 25
BP0003 | Bulbs/ Lamps | Lamp for Laryngoscope | Yes | 26 | 60 | Welch Allyn | Active | 0 | 5 | 26
BP0001 | Batteries/ UPS | Rechargeable Battery 12V 700Mah | Yes | 150 | 200 | Top | Active | 0 | 11 | 27
BP0004 | Cables/ Lead Wires (or any part of it) | NIHON KOHDEN CHEST ELECTROLUDE ADULT COMPLEX | Yes | 60 | 92 | Nihon Kohden | Active | 0 | 16 | 28
BP0003 | Bulbs/ Lamps | BULB 6V 20W | Yes | 165 | 241.5 | Topcon | Active | 0 | 1 | 29
BP0003 | Bulbs/ Lamps | Bulb WELCH ALLYN 03100 | Yes | 35 | 55.2 | Welch Allyn | Active | 0 | 2 | 30
BP0003 | Bulbs/ Lamps | 3.5v Streak Lamp 08200 | Yes | 35 | 69 | Welch Allyn | Active | 0 | 9 | 31
BP0001 | Batteries/ UPS | BATTERY SERVO-I MARQUET | Yes | 1200 | 1610 |  | Active | 0 | 1 | 32
BP0001 | Batteries/ UPS | BATTERY LITHIUM ION | Yes | 650 | 1035 | PHILIPS | Active | 0 | 4 | 33
BP0004 | Cables/ Lead Wires (or any part of it) | Transpac IV Cable HP PHILIPS | Yes | 250 | 500 | Philips | Active | 0 | 4 | 34
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 Adult Finger Clip Sensor M1196A | Yes | 300 | 700 | Philips | Active | 0 | 0 | 35
BP0001 | Batteries/ UPS | Battery 6v 2200 mah | Yes | 140 | 500 | Fresenius | Active | 0 | 0 | 36
BP0003 | Bulbs/ Lamps | 300 Watts Xenon Lamp | Yes | 1330 | 1667.5 | Olympus | Active | 0 | 0 | 37
BP0006 | Cuffs | CUFF S/H ADULT (PHILIPS) | Yes | 90 | 300 | AGILENT | Active | 0 | 13 | 38
BP0025 | Sensors/ Detectors | Oxygen Sensor | Yes | 700 | 1380 |  | Active | 0 | 0 | 39
BP0004 | Cables/ Lead Wires (or any part of it) | POWER CORD 5 METER 3 PIN | Yes | 27.5 | 50 | Erbe | Active | 0 | 1 | 40
BP0011 | Equipment Specific Parts | Power Board | Yes | 720 | 1000 |  | Active | 0 | 2 | 41
BP0004 | Cables/ Lead Wires (or any part of it) | Cable 5 leadset grabber M1971A | Yes | 480 | 715 | Philips | Active | 0 | 1 | 42
BP0011 | Equipment Specific Parts | MAINTAINANCE SPARE PART (IN HOUSE) | Yes | 7 | 22000 |  | Active | 0 | 3 | 43
BP0006 | Cuffs | Cuff Connector Female | Yes | 3 | 7 | COLIN | Active | 0 | 3 | 44
BP0012 | Filters | Cotton Filter-20 Inch | Yes | 15 | 32.2 | Waterman | Active | 0 | 20 | 45
BP0004 | Cables/ Lead Wires (or any part of it) | MINDRAY SPO2 Extension Cable, Sensor 2.4m (0010-20-42594) | Yes | 110 | 120 | Mindray | Active | 0 | 23 | 46
BP0025 | Sensors/ Detectors | SIEMENS SERVO 9000 OXYGEN SENSOR OOM202 | Yes | 159.85 | 218.5 | Siemens | Active | 0 | 0 | 47
BP0010 | Electronic Components | PETTY CASH | Yes | 1 | 500 | Common | Active | 0 | 57 | 48
BP0006 | Cuffs | Cuff Connector Male | Yes | 3 | 6 | COLIN | Active | 0 | 11 | 49
BP0001 | Batteries/ UPS | Rechargeable Battery | Yes | 140 | 168 | Top | Active | 0 | 0 | 50
BP0026 | Solenoids/ Valves/ Gauges | Vent. Exhalation Valve Assy | Yes | 854 | 1708 | BIRD | Active | 0 | 0 | 51
BP0026 | Solenoids/ Valves/ Gauges | VALVE SPRING SET BIC-4008/S V10 | No | 100 | 300 | Fresenius | Active |  | 8 | 52
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Battery Cover Assembly ,TOP 3300 | Yes | 257.15 | 334.1 | TOP | Active | 0 | 4 | 53
BP0025 | Sensors/ Detectors | Oxygen Sensor | Yes | 1200 | 1380 |  | Active | 0 | 0 | 54
BP0025 | Sensors/ Detectors | Drop Sensor TOP 3300 (89T) T6330522 | Yes | 718 | 825.7 | Top | Active | 0 | 0 | 55
BP0011 | Equipment Specific Parts | 900MR858 Electrical Adaptor | Yes | 298.8 | 343.62 | Fisher & Paykel | Active | 0 | 2 | 56
BP0026 | Solenoids/ Valves/ Gauges | Solenoid Valve (Chamber) | Yes | 370 | 425.5 | Fresenius | Active | 0 | 8 | 57
BP0004 | Cables/ Lead Wires (or any part of it) | ECG 3 LEAD TRUNK CABLE | Yes | 300 | 500 | Philips | Active | 0 | 10 | 58
BP0025 | Sensors/ Detectors | ANASTHESIA | Yes | 200 | 275 | Common | Active | 0 | 13 | 59
BP0004 | Cables/ Lead Wires (or any part of it) | Cable 5 lead ECG trunk M1668A | Yes | 500 | 650 | Philips | Active | 0 | 1 | 60
BP0025 | Sensors/ Detectors | Oxygen Sensor (OOM102-1) | Yes | 300 | 320 | ULCO | Active | 6 | 0 | 61
BP0001 | Batteries/ UPS | Rechargeable Battery 11.1V, Mindray iMEC8 | No | 400 | 450 | Mindray | Active |  | 2 | 62
BP0012 | Filters | Diasafe Plus Filter | No | 200 | 242.5 | Fresenius | Active | 0 | 0 | 63
BP0023 | PPM/ Service/Maintenance/ Repair Kits | Fresenius 4008S PPM Kit Yearly | No | 500 | 530 | FRESENIUS | Active | 0 | 0 | 64
BP0003 | Bulbs/ Lamps | Bulb 24 V 150 W, OSRAM | No | 6.7 | 7.6 | Osram | Active | 0 | 0 | 65
BP0006 | Cuffs | Cuff Cylindrical 34 Ats | No | 400 | 460 | Common | Active |  | 0 | 66
BP0025 | Sensors/ Detectors | SIPAP MACHINE OXYGEN SENSOR FABIAN OOM204 | No | 450 | 480 | Acutronic | Active | 0 | 0 | 67
BP0004 | Cables/ Lead Wires (or any part of it) | SCHILLER 10 LEAD ECG CABLE BANANA TYPE | No | 120 | 150 | SCHILLER | Active | 0 | 0 | 68
BP0003 | Bulbs/ Lamps | Bulb 12V 100W (64627) | No | 10 | 11.5 | Siemens | Active |  | 9 | 69
BP0011 | Equipment Specific Parts | MMS Module | No | 2700 | 2800 |  | Active |  | 3 | 70
BP0001 | Batteries/ UPS | BATTERY B. BRAUN INFUSOMAT | No | 200 | 220 | B.Braun | Active |  | 0 | 71
BP0025 | Sensors/ Detectors | Spo2 Sensor Adult Original DS100A | No | 400 | 430 | Nellcor | Active |  | 6 | 72
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | MODULE MONTARA AM-12 | No | 2000 | 2300 |  | Active |  | 0 | 73
BP0028 | Transducers/ Probes | Ultrasound Tranducer | No | 1300 | 1400 | Hewlett Packard | Active | 0 | 2 | 74
BP0004 | Cables/ Lead Wires (or any part of it) | ECG TRUNK CABLE PROPAQ LT 3 LEAD | No | 100 | 125 | Welch Allyn | Active |  | 4 | 75
BP0004 | Cables/ Lead Wires (or any part of it) | EXTENSION CABLE TRUSIGNAL GE WITH CONNECTOR | No | 100 | 125 | Datex Ohmeda | Active |  | 3 | 76
BP0026 | Solenoids/ Valves/ Gauges | RELEASE VALVE DIAPHRAGM | No | 37 | 40 | ULCO | Active |  | 15 | 77
BP0025 | Sensors/ Detectors | Oxygen Cell OOM102 | No | 260 | 280 | Acutronic | Active |  | 0 | 78
BP0003 | Bulbs/ Lamps | LED BULB OPHTHALMOSCOPE | No | 600 | 620 | Keeler | Active |  | 4 | 79
BP0019 | O-Rings/ Belts/ Seals/ Gaskets/ Washers | YELLOW BELT | No | 190 | 195 |  | Active |  | 2 | 80
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS 5 LEAD TRUNK CABLE ECG M1530A | No | 125 | 140 | Hewlett Packard | Active | 0 | 4 | 81
BP0025 | Sensors/ Detectors | Spo2 finger sensor M1191BL | No | 10 | 400 | AGILENT | Active | 0 | 0 | 82
BP0003 | Bulbs/ Lamps | Bulb Laryngoscope Adult Penlon 55091 | No | 20 | 23 | Penlon | Active | 0 | 17 | 83
BP0011 | Equipment Specific Parts | KEYPAD ORALIX | No | 200 | 250 | Common | Active |  | 1 | 84
BP0028 | Transducers/ Probes | 2Mhz Tranducer (Blue) | No | 2000 | 2300 | Oxford Instrument | Active | 0 | 1 | 85
BP0011 | Equipment Specific Parts | Water Trap | No | 10 | 115 | Draeger | Active |  | 10 | 86
BP0002 | Blankets/ Mattresses | HUNTLEGLY RIPPLE MATTRESS | No | 500 | 650 | HUNTLEIGH | Active | 0 | 0 | 87
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 FINGER SENSOR NIHON KOHDEN | No | 10 | 280 | Nihon Kohden | Active |  | 7 | 88
BP0003 | Bulbs/ Lamps | BULB OSRAM XBOR 300W/60C | No | 10 | 2950 | Karl Storz | Active |  | 2 | 89
BP0004 | Cables/ Lead Wires (or any part of it) | ECG USB Cable | No | 10 | 1200 | MORTARA | Active |  | 2 | 90
BP0011 | Equipment Specific Parts | LED BULB 3.5V Opthalmoscope | No | 150 | 170 | Keeler | Active |  | 1 | 91
BP0025 | Sensors/ Detectors | Spo2 Finger Sensor Adult, Trusat | No | 10 | 150 | Ge | Active |  | 1 | 92
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | MATRESS SIDE 9MM CONNECTER | No | 10 | 95 |  | Active |  | 3 | 93
BP0013 | Heater Elements | Heater 230-240Vac, 50/60Hz | No | 10 | 600 |  | Active |  | 0 | 94
BP0001 | Batteries/ UPS | BATTERY CR-1/3N | No | 10 | 25 |  | Active |  | 2 | 95
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 Extension Cable PN:0010-20-42710 or 562A | No | 10 | 120 |  | Active |  | 0 | 96
BP0028 | Transducers/ Probes | CARDIOTOCOGRAPH Toco Ultrasound Tranducer (Pink) | No | 10 | 2800 | Common | Active | 0 | 3 | 97
BP0025 | Sensors/ Detectors | OXYGEN SENSOR | No | 10 | 598 | NEWPORT | Active | 0 | 12 | 98
BP0011 | Equipment Specific Parts | EXPIRATORY CASSETE | No | 10 | 6000 |  | Active |  | 0 | 99
BP0003 | Bulbs/ Lamps | SOCKET BULB BLUE 130 MAQUET OT LIGHT | No | 10 | 420 |  | Active |  | 7 | 100
BP0025 | Sensors/ Detectors | DATEX OHMEDA (AESTIVA 5) 02 CELL 6050-0004-110 | Yes | 250 | 390 |  | Active | 6 | 3 | 101
BP0004 | Cables/ Lead Wires (or any part of it) | NIHON KOHDEN Fast Clip Ecg Electrode | No | 10 | 65 | Nihon Kohden | Active | 0 | 6 | 102
BP0003 | Bulbs/ Lamps | BULB MAQUET BLUE 22.8V 90W | No | 10 | 225 | Hanaulux | Active |  | 0 | 103
BP0025 | Sensors/ Detectors | SPO finger sensor mindray adult 512F | No | 10 | 250 | Mindray | Active |  | 0 | 104
BP0011 | Equipment Specific Parts | Drop sensor,BRAND:ORALIX, MODEL:OR-1500H | No | 100 | 360 |  | Active |  | 8 | 105
BP0004 | Cables/ Lead Wires (or any part of it) | EXTENSION CABLE RC-12 | No | 125 | 450 | Masimo | Active | 0 | 0 | 106
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | CHARGERMODULE ASSY | No | 9432 | 10000 | GE | Active |  | 0 | 107
BP0007 | Diaphragms/ Pumps | Ultrafiltration Pump | No | 2180.25 | 2500 | Fresenius | Active |  | 0 | 108
BP0006 | Cuffs | Cuff Cylindrical 34 Ats | No | 460 | 500 | Zimmer | Active |  | 0 | 109
BP0006 | Cuffs | Cuff Cylindrical 24 Ats | No | 460 | 600 | Zimmer | Active |  | 2 | 110
BP0004 | Cables/ Lead Wires (or any part of it) | 6 lead wire for telemetri transmitter for ge apex PRO part no:421930-001 | No | 125 | 200 | Ge | Active |  | 3 | 111
BP0025 | Sensors/ Detectors | Temperature Probe 900MR860 | No | 789 | 850 | Fisher & Paykel | Active |  | 4 | 112
BP0001 | Batteries/ UPS | Rechargeable Battery (TE-112) | No | 130 | 200 | Terumo | Active |  | 4 | 113
BP0004 | Cables/ Lead Wires (or any part of it) | Extension Cable PC-8 | No | 730 | 800 | Masimo | Active |  | 5 | 114
BP0001 | Batteries/ UPS | Battery LI-ion 14.8V 6.6Ah 98Wh (for Heartstart XL+) | No | 1850 | 2000 | PHILIPS | Active |  | 0 | 115
BP0012 | Filters | Black Carbon Filter | No | 8 | 9.6 | Waterman | Active |  | 1 | 116
BP0012 | Filters | Cotton Filter-10 Inch | No | 5 | 10 | Waterman | Active |  | 9 | 117
BP0011 | Equipment Specific Parts | PLUNGER CLAMP ASSY | No | 140 | 200 | TOP | Active |  | 2 | 118
BP0025 | Sensors/ Detectors | Extension finger sensor Mindray PM-60 DB9 | No | 203 | 215 | Mindray | Active |  | 2 | 119
BP0001 | Batteries/ UPS | BATTERY MINDRAY DUO | No | 500 | 800 | Mindray | Active |  | 0 | 120
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Hose heater wire 900mr751 | No | 320 | 368 | Fisher & Paykel | Active |  | 3 | 121
BP0004 | Cables/ Lead Wires (or any part of it) | 3 Lead Wire | No | 125 | 500 | Nihon Kohden | Active |  | 5 | 122
BP0001 | Batteries/ UPS | Battery Smart Pack | No | 425 | 700 | ALARIS | Active |  | 15 | 123
BP0020 | Paddles/ Wheels/ Castors/Brakes | External Paddle for TEC-7621K | No | 1166 | 3000 | Nihon Kohden | Active |  | 3 | 124
BP0025 | Sensors/ Detectors | DROP SENSOR TERUMO TE-112 | No | 1468 | 1500 | Terumo | Active |  | 4 | 125
BP0020 | Paddles/ Wheels/ Castors/Brakes | CASTOR | No | 118 | 500 | Fresenius | Active |  | 0 | 126
BP0001 | Batteries/ UPS | Sypu Battery 12V 700Mah(3.6V-600Mah) | No | 175 | 201.25 | B.Braun | Active | 0 | 14 | 127
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 Nellcor Interm Cable | No | 550 | 900 | DRAEGER | Active |  | 1 | 128
BP0025 | Sensors/ Detectors | Skin Temp Probe (CM-6450Y) | No | 650 | 900 | ATOM | Active |  | 2 | 129
BP0028 | Transducers/ Probes | Ultrasound Tranducer | No | 4500 | 7000 | Philips | Active |  | 2 | 130
BP0003 | Bulbs/ Lamps | Bulb 15v 150W | No | 42 | 50 | Siemens | Active |  | 1 | 131
BP0026 | Solenoids/ Valves/ Gauges | BP SET MANUAL Rubber Ball with Control Valve | No | 16.5 | 50 | ACCOSON | Active |  | 6 | 132
BP0025 | Sensors/ Detectors | Exhalation Flow Sensor MT for E360 | No | 300 | 500 | NEWPORT | Active |  | 2 | 133
BP0013 | Heater Elements | Heater Wire adaptor dual 900MR805 humidifier MR850 | No | 598 | 700 | Fisher & Paykel | Active |  | 1 | 134
BP0012 | Filters | FILTER ATOM | No | 110 | 150 | Atom | Active |  | 0 | 135
BP0010 | Electronic Components | FUSE | No | 0.4 | 20 | TOSHIBA | Active |  | 498 | 136
BP0004 | Cables/ Lead Wires (or any part of it) | ECG 10 LEAD MORTARA | No | 125 | 300 | MORTARA | Active |  | 0 | 137
BP0004 | Cables/ Lead Wires (or any part of it) | 5-Lead Trunk Cable | No | 200 | 500 |  | Active |  | 0 | 138
BP0025 | Sensors/ Detectors | Oxygen Sensor HAMILTON | No | 1000 | 2000 |  | Active |  | 6 | 139
BP0011 | Equipment Specific Parts | User Interface Assembly | No | 680 | 900 |  | Active |  | 2 | 140
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Swivel Air Hose With sensor | No | 720 | 900 |  | Active |  | 4 | 141
BP0019 | O-Rings/ Belts/ Seals/ Gaskets/ Washers | GREEN BELT | No | 198 | 300 |  | Active |  | 3 | 142
BP0001 | Batteries/ UPS | BATTERY DOPPLER NICOLET | No | 150 | 300 |  | Active |  | 15 | 143
BP0012 | Filters | Carbon Cartrid filter 10 | No | 14 | 20 |  | Active |  | 2 | 144
BP0012 | Filters | Cartridge filter imicon 10 | No | 14 | 20 |  | Active |  | 18 | 145
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Cover Syringe pump | No | 260 | 500 |  | Active |  | 5 | 146
BP0025 | Sensors/ Detectors | Spo2 Extension sensor | No | 150 | 300 | Philips | Active |  | 10 | 147
BP0003 | Bulbs/ Lamps | Halogen Bulb 6V 30W (Philips) | No | 96 | 150 | Philips | Active |  | 3 | 148
BP0001 | Batteries/ UPS | Rechargeable Batttery | No | 525 | 800 | Mindray | Active |  | 1 | 149
BP0004 | Cables/ Lead Wires (or any part of it) | FLOW SENSOR CONECTOR CABLE 8416600 | No | 943 | 1200 | DRAEGER | Active |  | 0 | 150
BP0003 | Bulbs/ Lamps | HALOGEN Bulb Derung 24v 75w | No | 75 | 200 |  | Active |  | 11 | 151
BP0011 | Equipment Specific Parts | Battery Oralix | No | 300 | 360 |  | Active |  | 14 | 152
BP0011 | Equipment Specific Parts | Bulb mercury short ARC HBO 100/2 | No | 480 | 700 | OLYMPUS | Active |  | 6 | 153
BP0013 | Heater Elements | 900MR754 Heater Wire | No | 300 | 500 | Fisher & Paykel | Active |  | 0 | 154
BP0013 | Heater Elements | Heater Wire Adaptor 900MR559 | No | 288 | 500 | Fisher & Paykel | Active |  | 10 | 155
BP0011 | Equipment Specific Parts | LAMB CARTRIDGE ASSY 6 SERIES )(608125-501) | No | 190 | 500 | WELCH ALLYN | Active |  | 0 | 156
BP0001 | Batteries/ UPS | Lithium ION Battery 3.6V(Red) | No | 480 | 1000 | KEELER | Active |  | 0 | 157
BP0003 | Bulbs/ Lamps | Halogen Lamp | No | 1571 | 2000 |  | Active |  | 3 | 158
BP0001 | Batteries/ UPS | Battery Pack BP55 | No | 110 | 250 | Top | Active |  | 11 | 159
BP0008 | Displays/ Backlights/ Panels | LCD MONITOR | No | 380 | 500 |  | Active |  | 3 | 160
BP0004 | Cables/ Lead Wires (or any part of it) | LEAD CABLE ECG | No | 250 | 500 | Nihon Kohden | Active |  | 8 | 161
BP0004 | Cables/ Lead Wires (or any part of it) | NIBP INTERCONNECT CABLE | No | 55 | 150 | Philips | Active |  | 13 | 162
BP0001 | Batteries/ UPS | Battery 9.6V 1.5Ah | No | 150 | 300 | Terumo | Active |  | 3 | 163
BP0006 | Cuffs | CUFF ADULT DURABLE | No | 90 | 100 | WELCH ALLYN | Active |  | 4 | 164
BP0013 | Heater Elements | Heater Elements | No | 500 | 700 |  | Active |  | 1 | 165
BP0012 | Filters | INLET FILTER (PACK OF 6 PCS) | No | 75 | 100 | Respironics | Active |  | 21 | 166
BP0004 | Cables/ Lead Wires (or any part of it) | ECG 5 Lead | No | 250 | 400 |  | Active |  | 6 | 167
BP0001 | Batteries/ UPS | Rechargeable Battery (for Draeger Evita 4); Valve Regulated Lead Acid 12V 3.4Ah (LC-R123R4PG) | No | 155 | 300 | Draeger | Active |  | 2 | 168
BP0004 | Cables/ Lead Wires (or any part of it) | 3 LEAD ECG CABLE | No | 150 | 250 | Nihon Kohden | Active |  | 1 | 169
BP0001 | Batteries/ UPS | Rechargeable Battery 12V 2.3Ah | No | 280 | 500 | IVY | Active |  | 12 | 170
BP0013 | Heater Elements | High Temperature Filament | No | 512 | 600 |  | Active |  | 5 | 171
BP0004 | Cables/ Lead Wires (or any part of it) | Battery Li-Ion 2.4ah/26.64 wh | No | 386 | 500 | Philips | Active |  | 0 | 172
BP0011 | Equipment Specific Parts | FISHER & PAYKEL ELECTRICAL ADAPTOR 900MR858 | No | 336 | 500 | Fisher & Paykel | Active |  | 8 | 173
BP0012 | Filters | Cartridge filter big blue 20 | No | 110 | 250 | Fresenius | Active |  | 9 | 174
BP0001 | Batteries/ UPS | Battery Pack 8.4V 8.0 Ah Ge Dash 2500 | No | 1125 | 1500 |  | Active |  | 3 | 175
BP0025 | Sensors/ Detectors | Durasensor Adult Finger Clip Sensor | No | 400 | 550 | Siemens | Active |  | 1 | 176
BP0003 | Bulbs/ Lamps | SLIT LAMP BULB TAPCON HALOGEN | No | 21 | 30 | Topcon | Active |  | 12 | 177
BP0012 | Filters | Bacteria Filter 10 | No | 11 | 20 | Fresenius | Active |  | 11 | 178
BP0012 | Filters | Cartridge filter imicon 20 | No | 20 | 45 | Fresenius | Active |  | 0 | 179
BP0025 | Sensors/ Detectors | Temperature Probe 900MR869 | No | 789 | 1000 | Fisher & Paykel | Active |  | 2 | 180
BP0004 | Cables/ Lead Wires (or any part of it) | 10 Lead ECG Cable Kenz 108 | No | 125 | 143.75 | Suzuken | Active | 0 | 12 | 181
BP0025 | Sensors/ Detectors | FISHER&PAYKEL Temperature Probe 900MR560 | No | 386 | 443.9 | Fisher & Paykel | Active | 0 | 10 | 182
BP0025 | Sensors/ Detectors | FISHER&PAYKEL Temperature Probe 900MR860 FOR 850 | No | 570 | 655.5 | Fisher & Paykel | Active | 0 | 0 | 183
BP0028 | Transducers/ Probes | Fresenius 4008S TMP Transducer Complete | No | 1750 | 2012.5 | FRESENIUS | Active | 0 | 2 | 184
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Hose Red | No | 48 | 55.2 | Fresenius | Active | 0 | 0 | 185
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Plunger Holder 20ml | No | 85 | 97.75 | Fresenius | Active | 0 | 0 | 186
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Rotor Board GE AMX4 | No | 5341 | 6142.15 | GE | Active | 0 | 0 | 187
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Fil KV Control Board GE AMX4 | No | 5002 | 5752.3 | GE | Active | 0 | 0 | 188
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | CPU Board GE AMX4 | No | 5945.4 | 6837.21 | GE | Active | 0 | 1 | 189
BP0001 | Batteries/ UPS | Battery Upgrade Kit | No | 3857.69 | 4436.34 | GE | Active | 0 | 1 | 190
BP0004 | Cables/ Lead Wires (or any part of it) | Patient Cable | No | 450 | 517.5 | Suzuken | Active | 0 | 0 | 191
BP0004 | Cables/ Lead Wires (or any part of it) | KENZ 106 10 LEAD ECG CABLE | No | 800 | 920 | Suzuken | Active | 0 | 7 | 192
BP0028 | Transducers/ Probes | Toco Tranducer | No | 1175 | 1351.25 | Hewlett Packard | Active | 0 | 3 | 193
BP0028 | Transducers/ Probes | TOCO Avalon FEM20 Philips | No | 4400 | 5060 | Philips | Active | 0 | 0 | 194
BP0021 | Power Cords/ Adaptors (or any part of it) | Plug Top 3 Pin 13amp | No | 5.3 | 6.1 | Common | Active | 0 | 6 | 195
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Male Connector | No | 4 | 4.6 | Accoson | Active | 0 | 3 | 196
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Female Connector | No | 2.5 | 2.88 | Accoson | Active | 0 | 0 | 197
BP0012 | Filters | CLEMENT FILTER | No | 85 | 97.75 | Clements | Active | 0 | 9 | 198
BP0012 | Filters | MADELA Filter Bacterial | No | 98 | 112.7 | Madela | Active | 0 | 4 | 199
BP0003 | Bulbs/ Lamps | Bulb,12V/4.2A 50W | No | 20 | 23 | Inami | Active | 0 | 0 | 200
BP0003 | Bulbs/ Lamps | Bulb 6V4.5A | No | 138 | 158.7 | Inami | Active | 0 | 1 | 201
BP0003 | Bulbs/ Lamps | Bulb 6V 4.5 A | No | 215 | 247.25 | Nidek | Active | 0 | 0 | 202
BP0021 | Power Cords/ Adaptors (or any part of it) | Power Cord 1.8M | No | 18 | 20.7 | Volex | Active | 0 | 0 | 203
BP0006 | Cuffs | Infant Cuff 2 Tb | No | 12 | 13.8 | Critikon/Velcro | Active | 0 | 37 | 204
BP0006 | Cuffs | Infant Cuff 1 Tb | No | 32 | 36.8 | Critikon/Velcro | Active | 0 | 45 | 205
BP0006 | Cuffs | X-Large Cuff Adult 2TB | No | 60 | 69 | Critikon/Velcro | Active | 0 | 32 | 206
BP0006 | Cuffs | Cuff Large Adult 1 Tb | No | 16 | 18.4 | Critikon/Velcro | Active | 0 | 50 | 207
BP0006 | Cuffs | Cuff Adult 1 Tb | No | 30 | 34.5 | Colin/Velcro | Active | 0 | 4 | 208
BP0006 | Cuffs | Cuff Adult Large 2 Tb | No | 16 | 18.4 | Colin/Velcro | Active | 0 | 0 | 209
BP0006 | Cuffs | Cuff Adult 2 Tb | No | 33 | 37.95 | Colin/Velcro | Active | 0 | 23 | 210
BP0006 | Cuffs | Cuff Child 2 Tb | No | 30 | 34.5 | Colin/Velcro | Active | 0 | 36 | 211
BP0008 | Displays/ Backlights/ Panels | TOP 3300 FRONT PANEL ASSEMBLY (T6330516(5) ) | No | 2067 | 2377.05 | Top | Active | 0 | 0 | 212
BP0003 | Bulbs/ Lamps | BULB SLIT LAMP 6V 4.5A W/CENTER HAAG STREIT BM900 | No | 70 | 80.5 | Haag-Streit | Active | 0 | 0 | 213
BP0021 | Power Cords/ Adaptors (or any part of it) | Power Adaptor | No | 80 | 92 | Omron | Active | 0 | 0 | 214
BP0021 | Power Cords/ Adaptors (or any part of it) | POWER DAPTOR HEM 907 OMRON | No | 68 | 78.2 | Omron | Active | 0 | 2 | 215
BP0025 | Sensors/ Detectors | DRAGER BABYLOG 8000 OXYGEN CELL 6850645 (GOLD PACKING) (OEM OOM201 ) | Yes | 974 | 1120.1 | Draeger | Active | 6 | 0 | 216
BP0025 | Sensors/ Detectors | Oxygen Sensor Capsule | No | 80 | 92 | Draeger | Active | 0 | 0 | 217
BP0025 | Sensors/ Detectors | Oxygen Sensor | No | 350 | 402.5 | Marquet | Active | 0 | 0 | 218
BP0025 | Sensors/ Detectors | MARQUETTE EXTENSION SPO2 SENSOR | No | 300 | 345 | Marquet | Active | 0 | 3 | 219
BP0025 | Sensors/ Detectors | EXTENAL MEDICAL OXYGEN SENSOR MAX-250E | Yes | 440 | 506 | Viasys Vela | Active | 6 | 4 | 220
BP0001 | Batteries/ UPS | Rechargeable Battery 6V | No | 300 | 345 | Nellcor | Active | 0 | 0 | 221
BP0001 | Batteries/ UPS | Rechargeable Battery 6V | No | 65 | 74.75 | Nellcor | Active | 0 | 0 | 222
BP0025 | Sensors/ Detectors | MASIMO SPO2 FINGER SENSOR ADULT LNOP DCI | No | 580 | 667 | Ivy | Active | 0 | 0 | 223
BP0025 | Sensors/ Detectors | SPO2 finger sensor child masimo | No | 740 | 851 | Ivy | Active | 0 | 0 | 224
BP0004 | Cables/ Lead Wires (or any part of it) | MARQUETTE SPO2 ADAPTOR CABLE HELLIGE | No | 1130 | 1299.5 | Marquet | Active | 0 | 3 | 225
BP0004 | Cables/ Lead Wires (or any part of it) | MASIMO EXTENSIN CABLE M-LNCS-10 | No | 600 | 690 | Masimo | Active | 0 | 3 | 226
BP0003 | Bulbs/ Lamps | Bulb PENLON 55092 | No | 50 | 57.5 | Penlon | Active | 0 | 6 | 227
BP0011 | Equipment Specific Parts | Pot Meter | No | 105 | 120.75 | Jh-Enraf | Active | 0 | 0 | 228
BP0011 | Equipment Specific Parts | Strap,250X3Cm | No | 1980 | 2277 | Jh-Enraf | Active | 0 | 0 | 229
BP0003 | Bulbs/ Lamps | MADELA LAMP PHOTOTHERAPY 18w/71 | No | 25 | 28.75 | Osram | Active | 0 | 47 | 230
BP0003 | Bulbs/ Lamps | BULB KILLER VISTA 2.8V 6 1011-P-7042 | No | 95 | 109.25 | Keeler | Active | 0 | 1 | 231
BP0003 | Bulbs/ Lamps | Bulb 2.5V | No | 175 | 201.25 | Keeler | Active | 0 | 0 | 232
BP0018 | Motors/ Micromotors/ Carbon brushes | Fresenius 4008S Stepper Motor | No | 3150 | 3622.5 | Fresenius | Active | 0 | 0 | 233
BP0004 | Cables/ Lead Wires (or any part of it) | Retractile Cable | No | 105 | 120.75 | Huntleigh | Active | 0 | 0 | 234
BP0007 | Diaphragms/ Pumps | Fresenius 4008S Concentrate Pump Assy Complete | No | 2080 | 2392 | Fresenius | Active | 0 | 0 | 235
BP0007 | Diaphragms/ Pumps | Fresenius 4008S Gear Pump Head | No | 1180 | 1357 | Fresenius | Active | 0 | 1 | 236
BP0001 | Batteries/ UPS | Rechargeable Battery 4.6V 700Mah | No | 80 | 92 | Suzuken | Active | 0 | 0 | 237
BP0001 | Batteries/ UPS | SUZUKENZ 108 RECHARGEABLE BATTERY 12V 1200MAH | No | 480 | 552 | Suzuken | Active | 0 | 10 | 238
BP0021 | Power Cords/ Adaptors (or any part of it) | 3 Pin Plug Adaptor | No | 6.9 | 7.94 | Erbe | Active | 0 | 0 | 239
BP0004 | Cables/ Lead Wires (or any part of it) | Ecg Cable | No | 600 | 690 | Nihon Kohden | Active | 0 | 0 | 240
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS LEAD 5 LEAD ECG CABLE M1633A | No | 351 | 403.65 | Hewlett Packard | Active | 0 | 0 | 241
BP0004 | Cables/ Lead Wires (or any part of it) | Adaptor Cable 12Pin to 9Pin | No | 1200 | 1380 | Hewlett Packard | Active | 0 | 0 | 242
BP0004 | Cables/ Lead Wires (or any part of it) | Patient Cable | No | 350 | 402.5 | Nihon Kohden | Active | 0 | 0 | 243
BP0004 | Cables/ Lead Wires (or any part of it) | Chest Electrode Paediatric Complete | No | 36.3 | 41.75 | Nihon Kohden | Active | 0 | 0 | 244
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS 3 Lead Trunk Cable, M1510A | No | 125 | 143.75 | Hewlett Packard | Active | 0 | 4 | 245
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS 3 LEAD ECG CALBLE M1613A | No | 240 | 276 | Hewlett Packard | Active | 0 | 2 | 246
BP0004 | Cables/ Lead Wires (or any part of it) | EXTENSION PHILIPS 1900B | No | 630 | 724.5 | Hewlett Packard | Active | 0 | 3 | 247
BP0004 | Cables/ Lead Wires (or any part of it) | 3 Lead Cable | No | 375 | 431.25 | Hewlett Packard | Active | 0 | 0 | 248
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Air Hose 3.5m CRITIKON | No | 62 | 71.3 | Colin | Active | 0 | 0 | 249
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Tube L Mini | No | 58.4 | 67.16 | Colin | Active | 0 | 0 | 250
BP0003 | Bulbs/ Lamps | Bulb, 6.2V0.5A | No | 699 | 803.85 | Clements | Active | 0 | 0 | 251
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 163 | 187.45 | Nihon Kohden | Active | 0 | 0 | 252
BP0001 | Batteries/ UPS | NIHON KOHDEN TEC-7100K BATTERY | No | 150 | 172.5 | Nihon Kohden | Active | 0 | 3 | 253
BP0001 | Batteries/ UPS | Rechargeable Battery Lcs-2912Nk | No | 920 | 1058 | Nihon Kohden | Active | 0 | 11 | 254
BP0001 | Batteries/ UPS | Rechargeable Battery 12V 1.9Ah | No | 450 | 517.5 | Nihon Kohden | Active | 0 | 0 | 255
BP0001 | Batteries/ UPS | NIHON KOHDEN 2012NK BATTERY | No | 150 | 172.5 | Nihon Kohden | Active | 0 | 2 | 256
BP0001 | Batteries/ UPS | Battery 12V 3700mAH | No | 1100 | 1265 | Nihon Kohden | Active | 0 | 0 | 257
BP0001 | Batteries/ UPS | Battery Rechargeable W/Connector 7.2V | No | 160 | 184 | B.Braun | Active | 0 | 25 | 258
BP0001 | Batteries/ UPS | Battery | No | 150 | 172.5 | B.Braun | Active | 0 | 0 | 259
BP0001 | Batteries/ UPS | Rechargeable Battery 7.2V 1.8Ah | No | 159 | 182.85 | B.Braun | Active | 0 | 0 | 260
BP0001 | Batteries/ UPS | Battery Ifusomat Bbraun FM | No | 160 | 184 | B.Braun | Active | 0 | 9 | 261
BP0001 | Batteries/ UPS | Rechargeable Battery 9.63V 1.5Ah | No | 120 | 138 | Top | Active | 0 | 1 | 262
BP0001 | Batteries/ UPS | Rechargeable Battery D84:D8712V 900MahTOP 3100 Battery | No | 150 | 172.5 | Top | Active | 0 | 25 | 263
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 145 | 166.75 | Top | Active | 0 | 0 | 264
BP0001 | Batteries/ UPS | RECHARGEABLE BATTERY TOP 5300 12V 700MAH | No | 217 | 249.55 | Top | Active | 0 | 49 | 265
BP0025 | Sensors/ Detectors | Drop Sensor T31 (88t) | No | 350 | 402.5 | Top | Active | 0 | 0 | 266
BP0001 | Batteries/ UPS | DRAGER OXYLOG 2000 BATTERY | No | 100 | 115 | Terumo | Active | 0 | 1 | 267
BP0001 | Batteries/ UPS | Battery | No | 150 | 172.5 | Terumo | Active | 0 | 0 | 268
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Corner Bracket | No | 380 | 437 | Ameda | Active | 0 | 0 | 269
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Corner Bracket | No | 46 | 52.9 | Ameda | Active | 0 | 23 | 270
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | AMEDA Tube Grommet | No | 90 | 103.5 | Ameda | Active | 0 | 4 | 271
BP0025 | Sensors/ Detectors | Drop Sensor Complete Infusomat | No | 390 | 448.5 | B.Braun | Active | 0 | 0 | 272
BP0025 | Sensors/ Detectors | Infusomat, Drop Sensor Complete | No | 380 | 437 | B.Braun | Active | 0 | 4 | 273
BP0025 | Sensors/ Detectors | B.BRAUN Drop Sensor Complete 34502629 | No | 377 | 433.55 | B.Braun | Active | 0 | 8 | 274
BP0013 | Heater Elements | Element Replacement Kit | No | 132 | 151.8 | Fisher & Paykel | Active | 0 | 0 | 275
BP0013 | Heater Elements | Heater Wire | No | 400 | 460 | Fisher & Paykel | Active | 0 | 0 | 276
BP0026 | Solenoids/ Valves/ Gauges | Solenoid Valve - Dual Port | No | 179 | 205.85 | Fresenius | Active | 0 | 4 | 277
BP0026 | Solenoids/ Valves/ Gauges | Fresenius 4008S Pressure reducing valve | No | 348.11 | 400.33 | Fresenius | Active | 0 | 1 | 278
BP0012 | Filters | AIR SHIELD FILTER PACK OF 4 C400 & 450 | No | 46.85 | 53.88 | Air Shields | Active | 0 | 21 | 279
BP0012 | Filters | Air Filter (Pack Of 4) | No | 225 | 258.75 | Air Shields | Active | 0 | 0 | 280
BP0012 | Filters | Bacterial Filter | No | 248 | 285.2 | Air Shields | Active | 0 | 0 | 281
BP0003 | Bulbs/ Lamps | BULB HALOGEN 12V 50V (LEICA) | No | 320 | 368 | Leica | Active | 0 | 3 | 282
BP0003 | Bulbs/ Lamps | Halogen Bulb 12V 50W | No | 290 | 333.5 | Leica | Active | 0 | 0 | 283
BP0003 | Bulbs/ Lamps | BULB OSRAM 64261 12V 30W | No | 60 | 69 | Leica | Active | 0 | 17 | 284
BP0009 | Electrodes | Potassium Electrode | Yes | 721.6 | 829.84 | Chiron | Active | 3 | 0 | 285
BP0009 | Electrodes | Electrode,Refill Cassette | Yes | 1306 | 1501.9 | Chiron | Active | 3 | 0 | 286
BP0009 | Electrodes | Electrode,Po2 | Yes | 1724 | 1982.6 | Chiron | Active | 3 | 0 | 287
BP0009 | Electrodes | Electrode,Ph | Yes | 600 | 690 | Chiron | Active | 3 | 0 | 288
BP0003 | Bulbs/ Lamps | BULB OLYMPUS 6V,10WGE (AX2017) | No | 40 | 46 | Olympus | Active | 0 | 11 | 289
BP0003 | Bulbs/ Lamps | Bulb 6V 20W | No | 35 | 40.25 | Olympus | Active | 0 | 46 | 290
BP0003 | Bulbs/ Lamps | Bulb 6V 30W (Olympus) | No | 35 | 40.25 | Olympus | Active | 0 | 0 | 291
BP0001 | Batteries/ UPS | Battery AAA (Alkaline) | No | 1.6 | 1.84 | Energizer | Active | 0 | 1 | 292
BP0001 | Batteries/ UPS | Battery C (Alkaline) | No | 3.7 | 4.26 | Energizer | Active | 0 | 175 | 293
BP0001 | Batteries/ UPS | Battery D (Alkaline) | No | 4.1 | 4.72 | Energizer | Active | 0 | 49 | 294
BP0001 | Batteries/ UPS | Battery 9V (Alkaline) | No | 6.25 | 7.19 | Energizer | Active | 0 | 26 | 295
BP0001 | Batteries/ UPS | CRITIKON 8100 Battery | No | 120 | 138 | Critikon | Active | 0 | 4 | 296
BP0001 | Batteries/ UPS | Battery 6V | No | 80 | 92 | Critikon | Active | 0 | 0 | 297
BP0001 | Batteries/ UPS | Rechargeable Battery 6V | No | 80 | 92 | Welch Allyn | Active | 0 | 0 | 298
BP0001 | Batteries/ UPS | Battery Rech. 3.6V 1.8Ah | No | 580 | 667 | Welch Allyn | Active | 0 | 1 | 299
BP0001 | Batteries/ UPS | Rechargeable Battery 3.5V | No | 235 | 270.25 | Welch Allyn | Active | 0 | 0 | 300
BP0003 | Bulbs/ Lamps | Halogen Bulb 12V 100W 6834 FO | No | 30 | 34.5 | Siemens | Active | 0 | 12 | 301
BP0003 | Bulbs/ Lamps | Bulb,Collimator,12v 100w (Philips 64625) 50Hr | No | 7.8 | 8.97 | Siemens | Active | 0 | 14 | 302
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Sample & Reagent Tube Kit | No | 940 | 1081 | Chiron | Active | 0 | 0 | 303
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Pre-Heater Tubing Kit | No | 800 | 920 | Chiron | Active | 0 | 0 | 304
BP0025 | Sensors/ Detectors | OXIBAND ADULT / NEONATAL SENSOR | No | 500 | 575 | Nellcor | Active | 0 | 1 | 305
BP0025 | Sensors/ Detectors | Oxi-Clip Finger Sensor | No | 1520 | 1748 | Invivo | Active | 0 | 0 | 306
BP0025 | Sensors/ Detectors | GRASEBY SOLARIS SPO2 FINGER SENSOR ADULT | No | 600 | 690 | Palco Lab | Active | 0 | 2 | 307
BP0004 | Cables/ Lead Wires (or any part of it) | Ecg 5 Lead , Grabber Set Iec | No | 350 | 402.5 | Siemens | Active | 0 | 0 | 308
BP0004 | Cables/ Lead Wires (or any part of it) | DATEX OHMEDA 3 LEAD WIRE | No | 337 | 387.55 | Siemens | Active | 0 | 3 | 309
BP0004 | Cables/ Lead Wires (or any part of it) | 3 LEAD WIRE | No | 610 | 701.5 | Siemens | Active | 0 | 0 | 310
BP0004 | Cables/ Lead Wires (or any part of it) | Spo2 Extension Cable | No | 800 | 920 | Siemens | Active | 0 | 0 | 311
BP0004 | Cables/ Lead Wires (or any part of it) | NELLCOR SPO2 Extension Cable Sensor DEC-8 | No | 138 | 158.7 | Nellcor | Active | 0 | 6 | 312
BP0004 | Cables/ Lead Wires (or any part of it) | Extension Cable Symphony | No | 740 | 851 | Nellcor | Active | 0 | 0 | 313
BP0004 | Cables/ Lead Wires (or any part of it) | NELLCOR SPO2 Extension Cable Original DOC 10 | No | 138 | 158.7 | Nellcor | Active | 0 | 4 | 314
BP0025 | Sensors/ Detectors | NELLCOR SPO2 FINGER SENSOR Pediatric Spot-Check, Dura-Y Sensor | No | 500 | 575 | Nellcor | Active | 0 | 1 | 315
BP0025 | Sensors/ Detectors | NELLCOR SPO2 FINGER CLIP SPO2 SENSOR DS100A | No | 210 | 241.5 | Nellcor | Active | 0 | 44 | 316
BP0025 | Sensors/ Detectors | Dura-Y Multi Site Sensor | No | 630 | 724.5 | Nellcor | Active | 0 | 0 | 317
BP0025 | Sensors/ Detectors | Oxygen Sensor Adult/Neonatal Oxiband | No | 500 | 575 | Nellcor | Active | 0 | 0 | 318
BP0003 | Bulbs/ Lamps | Bulb WELCH ALLYN 08500 | No | 55 | 63.25 | Welch Allyn | Active | 0 | 3 | 319
BP0003 | Bulbs/ Lamps | Bulb | No | 250 | 287.5 | Welch Allyn | Active | 0 | 0 | 320
BP0003 | Bulbs/ Lamps | Bulb WELCH ALLYN 03000 | No | 55 | 63.25 | Welch Allyn | Active | 0 | 8 | 321
BP0003 | Bulbs/ Lamps | Bulb WELCH ALLYN 03400 | No | 52 | 59.8 | Welch Allyn | Active | 0 | 15 | 322
BP0003 | Bulbs/ Lamps | Bulb WELCH ALLYN 04400 | No | 55 | 63.25 | Welch Allyn | Active | 0 | 1 | 323
BP0003 | Bulbs/ Lamps | Lamp For Mfi/Vdx | No | 255 | 293.25 | Welch Allyn | Active | 0 | 0 | 324
BP0003 | Bulbs/ Lamps | Bulb Halogen 22.8V 50W | No | 65 | 74.75 | Heraeus | Active | 0 | 0 | 325
BP0003 | Bulbs/ Lamps | BULB HANAULUX BLUE 22.8V 90W 130/90 NR.56053198 (HERAEUS) | No | 200 | 230 | Hanaulux | Active | 0 | 8 | 326
BP0003 | Bulbs/ Lamps | BULB PHILIPS 409843 TYPE 6550 15V 150W 409843 | No | 27 | 31.05 |  | Active | 0 | 1 | 327
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Oxytip Interconnect/Universal | No | 10 | 11.5 |  | Active | 0 | 0 | 328
BP0001 | Batteries/ UPS | Rechargeable Battery 8.4V 300Ah | No | 280 | 322 |  | Active | 0 | 0 | 329
BP0001 | Batteries/ UPS | AIR SHIELD C100 Rechargeable Battery 6V 2.5Ah | No | 80 | 92 |  | Active | 0 | 5 | 330
BP0001 | Batteries/ UPS | Battery 12V | No | 300 | 345 |  | Active | 0 | 0 | 331
BP0001 | Batteries/ UPS | Rechargeable Battery 12V | No | 120 | 138 |  | Active | 0 | 0 | 332
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | ESHMAN TAPERED CONNECTOR | No | 7.5 | 8.63 |  | Active | 0 | 7 | 333
BP0004 | Cables/ Lead Wires (or any part of it) | 300 Series 3 Lead Trunk Cable 3M/10' | No | 500 | 575 |  | Active | 0 | 0 | 334
BP0004 | Cables/ Lead Wires (or any part of it) | DATEX OHMEDA Spo2 Extension Cable (OXY-OL3) | No | 150 | 172.5 |  | Active | 0 | 3 | 335
BP0004 | Cables/ Lead Wires (or any part of it) | ECG Trunk Cable | No | 190 | 218.5 |  | Active | 0 | 0 | 336
BP0004 | Cables/ Lead Wires (or any part of it) | Oxytip Interconnect Cable | No | 800 | 920 |  | Active | 0 | 0 | 337
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 Extension Cable | No | 135 | 155.25 |  | Active | 0 | 0 | 338
BP0004 | Cables/ Lead Wires (or any part of it) | EXTENSION CABLE TS-M3 | No | 290 | 333.5 |  | Active | 0 | 0 | 339
BP0004 | Cables/ Lead Wires (or any part of it) | EXTENSION CABLE TS-N3 | No | 352 | 404.8 |  | Active | 0 | 2 | 340
BP0004 | Cables/ Lead Wires (or any part of it) | NOVAMETRIX SPO2 CABLE ADAPTOR NOR | No | 360 | 414 |  | Active | 0 | 5 | 341
BP0004 | Cables/ Lead Wires (or any part of it) | 3 Lead Wire Set | No | 190 | 218.5 |  | Active | 0 | 0 | 342
BP0004 | Cables/ Lead Wires (or any part of it) | SPACELAB 3 Lead Ecg Trunk Cable | No | 345 | 396.75 |  | Active | 0 | 3 | 343
BP0004 | Cables/ Lead Wires (or any part of it) | 3 Lead Ecg Shilded Patient Cable For Pcms Only | No | 90 | 103.5 |  | Active | 0 | 0 | 344
BP0004 | Cables/ Lead Wires (or any part of it) | 5 Lead Ecg Shilded Patient Cable For 90600/90700 | No | 300 | 345 |  | Active | 0 | 0 | 345
BP0004 | Cables/ Lead Wires (or any part of it) | Ecg Cable | No | 300 | 345 |  | Active | 0 | 0 | 346
BP0004 | Cables/ Lead Wires (or any part of it) | SPO2 Extension Cable | No | 180 | 207 |  | Active | 0 | 0 | 347
BP0025 | Sensors/ Detectors | Oxygen Sensor C-1 | Yes | 145 | 166.75 |  | Active | 6 | 0 | 348
BP0025 | Sensors/ Detectors | Flow Sensor Q2 W/Eprom | No | 3750 | 4312.5 |  | Active | 0 | 1 | 349
BP0025 | Sensors/ Detectors | Exhalation Sensor (Q3/T3) | No | 3400 | 3910 |  | Active | 0 | 0 | 350
BP0025 | Sensors/ Detectors | DATEX OHMEDA FLOW SENSOR 1503-3856-000 (PENDEK) | No | 388 | 446.2 |  | Active | 0 | 7 | 351
BP0025 | Sensors/ Detectors | Skin Temperature Probe | No | 321 | 369.15 |  | Active | 0 | 0 | 352
BP0025 | Sensors/ Detectors | Oxytip Finger Sensor | No | 315 | 362.25 |  | Active | 0 | 0 | 353
BP0025 | Sensors/ Detectors | Spo2 Finger Sensor | No | 645 | 741.75 |  | Active | 0 | 0 | 354
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | Retrokit Power | No | 520 | 598 |  | Active | 0 | 0 | 355
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | Power PCB Assembly | No | 1267 | 1457.05 |  | Active | 0 | 0 | 356
BP0025 | Sensors/ Detectors | Spo2 Reusable Finger Sensor Oxy-F4-H | No | 1250 | 1437.5 |  | Active | 0 | 0 | 357
BP0023 | PPM/ Service/Maintenance/ Repair Kits | PM KIT As/5 | No | 1000 | 1150 |  | Active | 0 | 0 | 358
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Display Board Pcb | No | 1000 | 1150 |  | Active | 0 | 0 | 359
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Control PCB Assembly | No | 1267 | 1457.05 |  | Active | 0 | 0 | 360
BP0018 | Motors/ Micromotors/ Carbon brushes | Fan Motor | No | 1800 | 2070 |  | Active | 0 | 0 | 361
BP0025 | Sensors/ Detectors | NOVAMETRIX SPO2 PROBE FINGER ADULT | No | 950 | 1092.5 |  | Active | 0 | 0 | 362
BP0011 | Equipment Specific Parts | Suction Jar Shatterproof Plastic | No | 1350 | 1552.5 |  | Active | 0 | 0 | 363
BP0011 | Equipment Specific Parts | CLEMENT Sp BLUE Inlet Nipple | No | 35 | 40.25 |  | Active | 0 | 3 | 364
BP0028 | Transducers/ Probes | Bd'S Pressure Tranducer P23Xl-1 | No | 3750 | 4312.5 |  | Active | 0 | 0 | 365
BP0028 | Transducers/ Probes | ARGON (BD) Pressure Transducer P23xl | No | 1500 | 1725 |  | Active | 0 | 1 | 366
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | ESHMAN SPARE LID FOR RECEIVED JAR | No | 480 | 552 |  | Active | 0 | 0 | 367
BP0025 | Sensors/ Detectors | DYNAL Skin Temp Probe | No | 300 | 345 | ATOM | Active | 0 | 0 | 368
BP0025 | Sensors/ Detectors | PHILIPS SPO2 FINGER SENSOR CHILE M1193A | No | 650 | 747.5 | AGILENT | Active | 0 | 2 | 369
BP0004 | Cables/ Lead Wires (or any part of it) | 8-12 Pin Spo2 Sensor Adaptor Cable | No | 250 | 287.5 | AGILENT | Active | 0 | 0 | 370
BP0004 | Cables/ Lead Wires (or any part of it) | 3-Lead Ecg Patient Trunk Cable Aam | No | 390 | 448.5 | AGILENT | Active | 0 | 0 | 371
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS 3 LEAD ECG MINI CLIP M1608 | No | 208 | 239.2 | AGILENT | Active | 0 | 1 | 372
BP0006 | Cuffs | Cuff Cylindrical 18 Ats | No | 460 | 529 | Zimmer | Active | 0 | 2 | 373
BP0006 | Cuffs | Cuff Cylindrical 30 Ats | No | 460 | 529 | Zimmer | Active | 0 | 3 | 374
BP0023 | PPM/ Service/Maintenance/ Repair Kits | Maintenance Kit 3000H | No | 1163 | 1337.45 | SIEMENS | Active | 0 | 0 | 375
BP0023 | PPM/ Service/Maintenance/ Repair Kits | Maintenance Kit 5000H | No | 990 | 1138.5 | SIEMENS | Active | 0 | 0 | 376
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Air Module | No | 10500 | 12075 | SIEMENS | Active | 0 | 0 | 377
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | CONNECTOR SPRILOG SENSOR | No | 104.38 | 120.04 | Draeger | Active | 0 | 13 | 378
BP0006 | Cuffs | Adult Cuff | No | 79 | 90.85 | CRITIKON | Active | 0 | 0 | 379
BP0006 | Cuffs | Small Adult Cuff | No | 166.9 | 191.94 | CRITIKON | Active | 0 | 0 | 380
BP0006 | Cuffs | Child Cuff | No | 54 | 62.1 | CRITIKON | Active | 0 | 3 | 381
BP0019 | O-Rings/ Belts/ Seals/ Gaskets/ Washers | O-Ring | No | 11 | 12.65 | Ulco | Active | 0 | 2 | 382
BP0019 | O-Rings/ Belts/ Seals/ Gaskets/ Washers | Seal/Bodok | No | 8 | 9.2 | Ulco | Active | 0 | 2 | 383
BP0011 | Equipment Specific Parts | MK4 STAINLESS STELL MEDICAL AIR | No | 65 | 74.75 | Ulco | Active | 0 | 23 | 384
BP0011 | Equipment Specific Parts | Silencer | No | 2.4 | 2.76 | Ulco | Active | 0 | 0 | 385
BP0011 | Equipment Specific Parts | 1/2 Clip | No | 1.1 | 1.27 | Ulco | Active | 0 | 0 | 386
BP0011 | Equipment Specific Parts | 9/16 Clip | No | 1.3 | 1.5 | Ulco | Active | 0 | 0 | 387
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | COLIN BP 8800 Front Case | No | 733 | 842.95 | Colin | Active | 0 | 1 | 388
BP0011 | Equipment Specific Parts | COLIN Luer Lock Fitting | No | 59.7 | 68.66 | Colin | Active | 0 | 14 | 389
BP0006 | Cuffs | Cuff Complete Adult | No | 12.5 | 14.38 | ACCOSON | Active | 0 | 0 | 390
BP0006 | Cuffs | Cuff Complete Pead ACCOSON | No | 10 | 11.5 | ACCOSON | Active | 0 | 3 | 391
BP0006 | Cuffs | Bp Cuff Bandage Adult Acoson | No | 10 | 11.5 | ACCOSON | Active | 0 | 0 | 392
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | E Module | No | 950 | 1092.5 | B.BRAUN | Active | 0 | 0 | 393
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | N MODULE (220-240V) B BRAUN 34506683 | No | 400 | 460 | B.BRAUN | Active | 0 | 2 | 394
BP0015 | Keyboards/ Keypads/ Remotes | Foil Keyboard BBRAUN | No | 200 | 230 | B.BRAUN | Active | 0 | 1 | 395
BP0001 | Batteries/ UPS | RECHARGEABLE BATTERY ATOM 12V | No | 475 | 546.25 | Atom | Active | 0 | 0 | 396
BP0003 | Bulbs/ Lamps | MEDELA LAMP BODY MADELA | No | 1495 | 1719.25 | MEDELA | Active | 0 | 3 | 397
BP0003 | Bulbs/ Lamps | MEDELA Lamp Grid MADELA | No | 685 | 787.75 | MEDELA | Active | 0 | 6 | 398
BP0003 | Bulbs/ Lamps | PHOTHOTHERAPY LAMP PHOTOTHERAPY TL20/52 | No | 21 | 24.15 | ATOM/philips | Active | 0 | 54 | 399
BP0003 | Bulbs/ Lamps | PHOTOTHERAPY LAMP TLD 30/03 | No | 26 | 29.9 | ATOM/philips | Active | 0 | 250 | 400
BP0003 | Bulbs/ Lamps | PHOTOTHERAPY LAMP 40/03 | No | 31 | 35.65 | ATOM/philips | Active | 0 | 25 | 401
BP0025 | Sensors/ Detectors | Po Finger Clip Sensor | No | 323 | 371.45 | OHMEDA | Active | 0 | 0 | 402
BP0025 | Sensors/ Detectors | Po Ohmeda Flex 11 Sensor | No | 300 | 345 | OHMEDA | Active | 0 | 0 | 403
BP0025 | Sensors/ Detectors | Ear Clip Sensor | No | 150 | 172.5 | OHMEDA | Active | 0 | 0 | 404
BP0007 | Diaphragms/ Pumps | A MODULE B Braun Pump | No | 712 | 818.8 | B.BRAUN | Active | 0 | 1 | 405
BP0001 | Batteries/ UPS | Battery | No | 400 | 460 | SIEMENS | Active | 0 | 0 | 406
BP0011 | Equipment Specific Parts | TOP 3300 HANDLE MAIN UNIT (T6335602(2)) | No | 76 | 87.4 | TOP | Active | 0 | 0 | 407
BP0011 | Equipment Specific Parts | TOP 5100 Power Regulator KWS10-15 | No | 250 | 287.5 | TOP | Active | 0 | 7 | 408
BP0011 | Equipment Specific Parts | TOP 5300 Base WITH HANDLE T6535604 | No | 277 | 318.55 | TOP | Active | 0 | 1 | 409
BP0011 | Equipment Specific Parts | Slider Subass | No | 441 | 507.15 | TOP | Active | 0 | 0 | 410
BP0011 | Equipment Specific Parts | TOP 5300 Clamp Unit T653-044 | No | 190 | 218.5 | TERUMO | Active | 0 | 1 | 411
BP0011 | Equipment Specific Parts | Boot Unit | No | 122 | 140.3 | TERUMO | Active | 0 | 0 | 412
BP0011 | Equipment Specific Parts | Dial Unit | No | 110 | 126.5 | TERUMO | Active | 0 | 14 | 413
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Slider Cover Unit | No | 410 | 471.5 | TERUMO | Active | 0 | 0 | 414
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Sypu Lower Case | No | 252 | 289.8 | TERUMO | Active | 0 | 0 | 415
BP0011 | Equipment Specific Parts | Universal Clamp Complete | No | 372 | 427.8 | B.BRAUN | Active | 0 | 1 | 416
BP0011 | Equipment Specific Parts | Drive Unit Complete | No | 1330 | 1529.5 | B.BRAUN | Active | 0 | 0 | 417
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | Sypu A Module(Battery R/Able Power Pack & Board) | No | 1500 | 1725 | B.BRAUN | Active | 0 | 0 | 418
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 80 | 92 | Akas | Active | 0 | 0 | 419
BP0003 | Bulbs/ Lamps | Bulb FML2TEX-N (For Eye Treadment Chair) | No | 75 | 86.25 | OPTION | Active | 0 | 0 | 420
BP0023 | PPM/ Service/Maintenance/ Repair Kits | PPM KIT 10K FOR 10.4 GUI | No | 900 | 1035 | NELLCOR | Active | 0 | 0 | 421
BP0004 | Cables/ Lead Wires (or any part of it) | PHYSIO CONTROL LP9B 3 lead Trunk Cable | No | 150 | 172.5 | PHYSIO CONTROL | Active | 0 | 10 | 422
BP0011 | Equipment Specific Parts | Recorder Assy | No | 3100 | 3565 | PHYSIO CONTROL | Active | 0 | 0 | 423
BP0011 | Equipment Specific Parts | PHYSIO CONTROL LP9B Printer Roller Assy 21330-000656 | No | 490 | 563.5 | PHYSIO CONTROL | Active | 0 | 2 | 424
BP0003 | Bulbs/ Lamps | BULB HITACHI HALOGEN LAMP 12V 20W P/N:705-0840 | No | 80 | 92 | HITACHI | Active | 0 | 3 | 425
BP0001 | Batteries/ UPS | BATTERY OMRON 4.8V 1.6 AH | No | 120 | 138 | Omron | Active | 0 | 18 | 426
BP0003 | Bulbs/ Lamps | Xenon Lamp 300 | No | 3000 | 3450 | Fujinon | Active | 0 | 0 | 427
BP0003 | Bulbs/ Lamps | OL BULB HALOGEN 24V 150W W/O REFLECTOR | No | 26 | 29.9 | Eschman | Active | 0 | 21 | 428
BP0003 | Bulbs/ Lamps | Bulb Halogen 12V 100W Reflector | No | 12 | 13.8 | CARL ZEISS | Active | 0 | 0 | 429
BP0003 | Bulbs/ Lamps | Mic Bulb Halogen 12V 100W Reflector | No | 18 | 20.7 | CARL ZEISS | Active | 0 | 0 | 430
BP0003 | Bulbs/ Lamps | Mic Lamp Regulation Board | No | 350 | 402.5 | CARL ZEISS | Active | 0 | 0 | 431
BP0003 | Bulbs/ Lamps | Halogen Bulb 6V 30W(Carl Zies) | No | 105 | 120.75 | CARL ZEISS | Active | 0 | 2 | 432
BP0011 | Equipment Specific Parts | OLYMPUS CH-120V,30WSB | No | 65 | 74.75 | OLYMPUS | Active | 0 | 4 | 433
BP0001 | Batteries/ UPS | Battery for physio control Defibrillator LP9B | No | 450 | 517.5 | PHYSIO CONTROL | Active | 0 | 0 | 434
BP0001 | Batteries/ UPS | Life Pack Nicd Battery | No | 450 | 517.5 | PHYSIO CONTROL | Active | 0 | 0 | 435
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 1100 | 1265 | PHYSIO CONTROL | Active | 0 | 0 | 436
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Main Pcb Assembly | No | 5500 | 6325 | PHYSIO CONTROL | Active | 0 | 0 | 437
BP0001 | Batteries/ UPS | Rechargeable Battery 12V 4.5Ah | No | 300 | 345 | HEWLETT PACKARD | Active | 0 | 0 | 438
BP0001 | Batteries/ UPS | Battery Ups | No | 145 | 166.75 | UNICOM | Active | 0 | 0 | 439
BP0007 | Diaphragms/ Pumps | Diaphragm (Silicon) | No | 50 | 57.5 | SECHRIST | Active | 0 | 24 | 440
BP0015 | Keyboards/ Keypads/ Remotes | Keyboard Panel | No | 450 | 517.5 | SUZUKEN | Active | 0 | 0 | 441
BP0011 | Equipment Specific Parts | Thermal Head | No | 800 | 920 | SUZUKEN | Active | 0 | 0 | 442
BP0011 | Equipment Specific Parts | Printer Roller Spool | No | 35 | 40.25 | SUZUKEN | Active | 0 | 0 | 443
BP0011 | Equipment Specific Parts | Pb,Inverter | No | 16 | 18.4 | ATOM | Active | 0 | 0 | 444
BP0003 | Bulbs/ Lamps | BULB HEINE X.04.88.104 6V BINOCULAR | No | 255 | 293.25 | Iris Medical | Active | 0 | 2 | 445
BP0011 | Equipment Specific Parts | Infant Humidifier Chamber | No | 860 | 989 | Fisher & Paykel | Active | 0 | 0 | 446
BP0011 | Equipment Specific Parts | FISHER & PAYKEL ELECTRICAL ADAPTOR 900MR558 | No | 360 | 414 | Fisher & Paykel | Active | 0 | 3 | 447
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | FISHER&PAYKEL Hose Heater Wire 900MR751 | No | 378 | 434.7 | Fisher & Paykel | Active | 0 | 8 | 448
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | FISHER & PAYKEL HOSE HEATER WIRE ASSY 900MR510 | No | 230 | 264.5 | Fisher & Paykel | Active | 0 | 0 | 449
BP0004 | Cables/ Lead Wires (or any part of it) | VALLEYLAB Cable Bipolar Active | No | 450 | 517.5 | VALLEYLAB | Active | 0 | 3 | 450
BP0004 | Cables/ Lead Wires (or any part of it) | Cable Bipolar Forceps | No | 499 | 573.85 | VALLEYLAB | Active | 0 | 0 | 451
BP0004 | Cables/ Lead Wires (or any part of it) | VALLEYLAB ESU HANDSEITCHING-SETCH PENCIL E2100 | No | 310 | 356.5 | VALLEYLAB | Active | 0 | 2 | 452
BP0025 | Sensors/ Detectors | Finger Probe Spo2 Sensor | No | 580 | 667 | CRITICARE | Active | 0 | 0 | 453
BP0001 | Batteries/ UPS | Nicked Rechargeable Battery 16Vdc 2.5Ah | No | 140 | 161 | Propaq | Active | 0 | 0 | 454
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Holder Bulb Assy | No | 260 | 299 | OHMEDA | Active | 0 | 0 | 455
BP0004 | Cables/ Lead Wires (or any part of it) | Oxylead Interconnect Cable | No | 45.5 | 52.33 | OHMEDA | Active | 0 | 0 | 456
BP0025 | Sensors/ Detectors | Spo2 Finger Sensor | No | 204.5 | 235.18 | SIMED | Active | 0 | 0 | 457
BP0025 | Sensors/ Detectors | Spo2 Probe,Neonate,Stater Kit | No | 1346 | 1547.9 | Datascope | Active | 0 | 0 | 458
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Hose Connect, Trio | No | 480 | 552 | Datascope | Active | 0 | 0 | 459
BP0006 | Cuffs | Cuff Infant | No | 15 | 17.25 | Datascope | Active | 0 | 25 | 460
BP0011 | Equipment Specific Parts | NIHON KOHDEN Paper Shaft AAA-20473 (20013) | No | 50 | 57.5 | Nihon Kohden | Active | 0 | 3 | 461
BP0011 | Equipment Specific Parts | NIHON KOHDEN 6851K Strap 38cm | No | 3.6 | 4.14 | Nihon Kohden | Active | 0 | 10 | 462
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Cover For Battery | No | 175 | 201.25 | HUNTLEIGH | Active | 0 | 1 | 463
BP0025 | Sensors/ Detectors | NOVAMETRIX SPO2 FINGER SENSOR Y | No | 620 | 713 | NOVAMETRIX | Active | 0 | 3 | 464
BP0025 | Sensors/ Detectors | Spo2 Finger Sensor, 8744 | No | 10 | 11.5 | NOVAMETRIX | Active | 0 | 0 | 465
BP0025 | Sensors/ Detectors | Reusable Oxysnap Finger Sensor | No | 1520.3 | 1748.35 | NOVAMETRIX | Active | 0 | 0 | 466
BP0025 | Sensors/ Detectors | Spo2 Adult Finger Tranducer | No | 350 | 402.5 | Hewlett Packard | Active | 0 | 3 | 467
BP0025 | Sensors/ Detectors | Pead Spo 2 Sensor | No | 450 | 517.5 | Hewlett Packard | Active | 0 | 0 | 468
BP0025 | Sensors/ Detectors | SPO2 Finger Sensor Adult | No | 900 | 1035 | Hewlett Packard | Active | 0 | 0 | 469
BP0001 | Batteries/ UPS | Rechargeable Battery 12V 1.2Ah | No | 80 | 92 | BAXTER | Active | 0 | 0 | 470
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Upper Casing,Clamp&Sheet | No | 671 | 771.65 | TOP | Active | 0 | 0 | 471
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | Power Supply Regulator | No | 250 | 287.5 | TOP | Active | 0 | 0 | 472
BP0002 | Blankets/ Mattresses | RIPPLE MATTRESS INDIVIDUAL CELL | No | 560 | 644 | HUNTLEIGH | Active | 0 | 0 | 473
BP0007 | Diaphragms/ Pumps | Diapharm | No | 205 | 235.75 | HUNTLEIGH | Active | 0 | 14 | 474
BP0011 | Equipment Specific Parts | Silencer Bag Assy | No | 75 | 86.25 | HUNTLEIGH | Active | 0 | 7 | 475
BP0023 | PPM/ Service/Maintenance/ Repair Kits | 5K PREVENTIVE MAINTENANCE KIT,VELA | No | 1305 | 1500.75 | Viasys Vela | Active | 0 | 0 | 476
BP0025 | Sensors/ Detectors | Finger Probe Adult 1.5Ft/Adult Reuble Oximeter Sensor | No | 600 | 690 | DOLPHIN | Active | 0 | 0 | 477
BP0004 | Cables/ Lead Wires (or any part of it) | Extension Cable 8Ft(2.4M) | No | 570 | 655.5 | DOLPHIN | Active | 0 | 0 | 478
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 260 | 299 | DATASCOPE | Active | 0 | 0 | 479
BP0001 | Batteries/ UPS | Battery | No | 300 | 345 | DATASCOPE | Active | 0 | 0 | 480
BP0004 | Cables/ Lead Wires (or any part of it) | PHILIPS Spo2 Sensor Adapter Cable M1940A | No | 328 | 377.2 | VIRDIA | Active | 0 | 2 | 481
BP0001 | Batteries/ UPS | Rechargeable Battery 6V 12Ah | No | 80 | 92 | GRASEBY | Active | 0 | 12 | 482
BP0003 | Bulbs/ Lamps | PHOTHOTHERAPY LAMP BULB ULTRAVIOLET UV-AL 100W/13 | No | 290 | 333.5 | Daavlin | Active | 0 | 0 | 483
BP0003 | Bulbs/ Lamps | PHOTHOTHERAPY LAMP BULB ULTRAVIOLET UV-B TL 100W/12 | No | 350 | 402.5 | Daavlin | Active | 0 | 0 | 484
BP0026 | Solenoids/ Valves/ Gauges | RP VALVE BODY ASSEMBLY | No | 80 | 92 | HUNTLEIGH | Active | 0 | 0 | 485
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Handle Bracket Set | No | 175 | 201.25 | AEROCARE | Active | 0 | 0 | 486
BP0011 | Equipment Specific Parts | Compressor | No | 600 | 690 | AEROCARE | Active | 0 | 0 | 487
BP0011 | Equipment Specific Parts | Air Reservoir | No | 55 | 63.25 | Bantex | Active | 0 | 0 | 488
BP0007 | Diaphragms/ Pumps | Pumping Set | No | 63.6 | 73.14 | Bantex | Active | 0 | 0 | 489
BP0013 | Heater Elements | Element Heating | No | 340 | 391 | Haraeus | Active | 0 | 1 | 490
BP0011 | Equipment Specific Parts | Sl 6V 20W Toeimeter | No | 288 | 331.2 | NIDEK | Active | 0 | 0 | 491
BP0003 | Bulbs/ Lamps | Bulb 12 V 30 W | No | 24 | 27.6 | Nikon | Active | 0 | 5 | 492
BP0004 | Cables/ Lead Wires (or any part of it) | Patient Extension Cable 8' | No | 580 | 667 | IVY | Active | 0 | 4 | 493
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Pcb,Display | No | 100 | 115 | JH-ENRAF | Active | 0 | 0 | 494
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Pcb,Main | No | 38 | 43.7 | JH-ENRAF | Active | 0 | 0 | 495
BP0011 | Equipment Specific Parts | PARI Automizer Upper Section | No | 180 | 207 | PARI | Active | 0 | 1 | 496
BP0011 | Equipment Specific Parts | Nozzle Complete | No | 280 | 322 | PARI | Active | 0 | 0 | 497
BP0006 | Cuffs | Cuff Single Tube Child | No | 30 | 34.5 | Common | Active | 0 | 12 | 498
BP0026 | Solenoids/ Valves/ Gauges | Terumo Vacuum Valve | No | 1090 | 1253.5 | TERUMO | Active | 0 | 0 | 499
BP0027 | Switchs/ Knobs/Buttons | Sheet Switch COLIN BP8800 | No | 450 | 517.5 | COLIN | Active | 0 | 5 | 500
BP0001 | Batteries/ UPS | Battery 7.2V | No | 80 | 92 | Seca | Active | 0 | 0 | 501
BP0001 | Batteries/ UPS | IP BATTERY 34508210 | No | 80 | 92 | Common | Active | 0 | 0 | 502
BP0003 | Bulbs/ Lamps | BULB KEELER OPTHALMOSCOPE BULB 2.8V | No | 105 | 120.75 | Common | Active | 0 | 5 | 503
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | Tube Pressure C/W Rubber | No | 145 | 166.75 | Common | Active | 0 | 12 | 504
BP0001 | Batteries/ UPS | Battery 6V | No | 80 | 92 | Mindray | Active | 0 | 0 | 505
BP0001 | Batteries/ UPS | BATTERY MINDRAY PM600 LC-R061R3P | No | 75 | 86.25 | Mindray | Active | 0 | 14 | 506
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | Case Bottom | No | 328 | 377.2 | AGILENT | Active | 0 | 0 | 507
BP0028 | Transducers/ Probes | Probe Aga | No | 2132 | 2451.8 | HITACHI | Active | 0 | 0 | 508
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | Power Convertion Board | No | 5500 | 6325 | PHYSIO CONTROL | Active | 0 | 0 | 509
BP0001 | Batteries/ UPS | Rechargeable Battery | No | 1100 | 1265 | S&W/Innomed | Active | 0 | 0 | 510
BP0011 | Equipment Specific Parts | Manometer With Pointer | No | 498.5 | 573.28 | Sechrist | Active | 0 | 0 | 511
BP0023 | PPM/ Service/Maintenance/ Repair Kits | Ppm Kit | No | 2850 | 3277.5 | ULCO | Active | 0 | 0 | 512
BP0028 | Transducers/ Probes | O2 STAINLESS STEEL OXY PROBE REMOTE O2 | No | 65 | 74.75 | ULCO | Active | 0 | 10 | 513
BP0010 | Electronic Components | Patient Relay | No | 300 | 345 | HEWLETT PACKARD | Active | 0 | 0 | 514
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | Mother Board Unit | No | 38 | 43.7 | SUZUKEN | Active | 0 | 0 | 515
BP0001 | Batteries/ UPS | Battery 9.6V 1100mAH w/out connector | No | 80 | 92 | Fukuda | Active | 0 | 0 | 516
BP0001 | Batteries/ UPS | Battery for Entral feeding | No | 80 | 92 | KANGAROO | Active | 0 | 8 | 517
BP0010 | Electronic Components | Relay Solid State | No | 40 | 46 | BAXTER | Active | 0 | 0 | 518
BP0004 | Cables/ Lead Wires (or any part of it) | Patient Cable | No | 276.1 | 317.52 | BAXTER | Active | 0 | 0 | 519
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | DATASCOPE BEZEL FRONT HIGHT ASSEMBLY 0380-00-0359-04 | No | 388 | 446.2 | Datascope | Active | 0 | 0 | 520
BP0004 | Cables/ Lead Wires (or any part of it) | Spo2 Adaptor Cable | No | 1800 | 2070 | S&W | Active | 0 | 0 | 521
BP0012 | Filters | AMEDA, 7 Shut Off Filter | No | 7 | 8.05 | AMEDA, Egnell | Active | 0 | 45 | 522
BP0004 | Cables/ Lead Wires (or any part of it) | Extension Cable | No | 670 | 770.5 | NOVAMETRIX | Active | 0 | 0 | 523
BP0004 | Cables/ Lead Wires (or any part of it) | Connector Cable (Db-9/Oxysnap) | No | 350 | 402.5 | NOVAMETRIX | Active | 0 | 0 | 524
BP0023 | PPM/ Service/Maintenance/ Repair Kits | SECHRIST Ppm Service Kit | No | 10 | 11.5 | SECHRIST | Active | 0 | 1 | 525
BP0017 | Membranes | Membrane Sheet | No | 70 | 80.5 | TOP | Active | 0 | 0 | 526
BP0003 | Bulbs/ Lamps | Bulb OSRAM 5001BA15s 6V 10W | No | 24 | 27.6 | LEITZ | Active | 0 | 7 | 527
BP0003 | Bulbs/ Lamps | Bulb 24V 40W | No | 77 | 88.55 | DAI-ICHE | Active | 0 | 0 | 528
BP0003 | Bulbs/ Lamps | Bulb Halogen 50W 24V | No | 18 | 20.7 | ANGENIEUX/OSRAM | Active | 0 | 0 | 529
BP0003 | Bulbs/ Lamps | Bulb 24v 100w | No | 50 | 57.5 | Angineuze | Active | 0 | 0 | 530
BP0011 | Equipment Specific Parts | Ic | No | 182 | 209.3 | HEWLETT PACKARD | Active | 0 | 1 | 531
BP0011 | Equipment Specific Parts | AIR SHIELD Grommet Access | No | 120 | 138 | Air Shields | Active | 0 | 7 | 532
BP0011 | Equipment Specific Parts | AIR SHIELD Iris Sleeve (Pack Of 4) | No | 18 | 20.7 | Air Shields | Active | 0 | 18 | 533
BP0011 | Equipment Specific Parts | Htc Protection Sheild For Hps 101 | No | 18 | 20.7 | Chemopharm | Active | 0 | 0 | 534
BP0027 | Switchs/ Knobs/Buttons | MEDELA DOUBLE ROCKER SWITCH MADELA | No | 70 | 80.5 | Chemopharm | Active | 0 | 1 | 535
BP0016 | Mechanical Components | MEDELA SQUARE NUT MADELA | No | 18 | 20.7 | Milestone | Active | 0 | 1 | 536
BP0020 | Paddles/ Wheels/ Castors/Brakes | CASTOR WHEEL WITH SCREW HEAD 2 | No | 3.5 | 4.03 | Press Mate | Active | 0 | 0 | 537
BP0028 | Transducers/ Probes | CARDIOTOCOGRAPH 1.5Mhz Ultrasound Transducer (Yellow) | No | 2398 | 2757.7 | Oxford Instrument | Active | 0 | 2 | 538